## Samples - fails ratio
Samples - ratios - failures
Temporal period | Measured parameter | No of samples | 0.3 mg/l |  |  | 0.25μg/l
|  |  | No of failures | Ratio | Cln/Cle | No of failures | Ratio | Cln/Cle
1 month | Cl | 68357 | 15410 | 23.77% | 3.4359 | 9824 | 15.15% | 5.9582
Samples - ratios - failures
Temporal period | Measured parameter | No of samples | 0.7 mg/l
|  |  | No of failures | Ratio | Clmn/Clme
1 month | Clm | 41106 | 8430 | 20.5% | 3.8762
[7 empty] | 4 |  | 6
[7 empty] | 33720 | 0.50786 | 58944 | 0.50175
[7 empty] | 25290 |  | 49120
Disinfection type | No of samples | No of failures | Percentage of failures | Low-Risk/ High-Risk |  |  | 66396 |  | 117477
Chlorination | 68357 | 9824 | 15.15% | 5.9582
Chloramination | 41106 | 8430 | 20.5% | 3.8762

## Month - chlorine
| SET | [12 empty] | Temp_Scale: | Month
All 21 parameters
No augmentation
| ML Model | 0.3 mg/l | [5 empty] | 0.25 mg/l
|  | TPR |  | TNR | MCC | Precision | F1Score | TPR | TNR | MCC | Precision | F1Score | Average
| RUSBoost | 0.71 |  | 0.96 | 0.66 | 0.69 | 0.7 | 0.76 | 0.98 | 0.74 | 0.77 | 0.76 | 0.802
| CRF | 0.45 |  | 0.99 | 0.58 | 0.84 | 0.59 | 0.46 | 0.99 | 0.62 | 0.89 | 0.61 | 0.714
1 | ADABoost | 0.7 |  | 0.98 | 0.71 | 0.79 | 0.74 | 0.77 | 0.99 | 0.79 | 0.85 | 0.81 | 0.842
SMOTE
| ML Model | 0.3 mg/l | [5 empty] | 0.25 mg/l
|  | TPR |  | TNR | MCC | Precision | F1Score | TPR | TNR | MCC | Precision | F1Score | Average
3 | RUSBoost | 0.68 |  | 0.97 | 0.68 | 0.77 | 0.71 | 0.76 | 0.98 | 0.75 | 0.79 | 0.77 | 0.81
| CRF | 0.51 |  | 0.99 | 0.62 | 0.84 | 0.63 | 0.53 | 0.99 | 0.66 | 0.9 | 0.66 | 0.748
| ADABoost | 0.78 |  | 0.84 | 0.47 | 0.39 | 0.52 | 0.85 | 0.86 | 0.52 | 0.39 | 0.54 | 0.632
UNDER
| ML Model | 0.3 mg/l | [5 empty] | 0.25 mg/l
|  | TPR |  | TNR | MCC | Precision | F1Score | TPR | TNR | MCC | Precision | F1Score | Average
| RUSBoost | 0.73 |  | 0.94 | 0.63 | 0.63 | 0.67 | 0.78 | 0.9 | 0.54 | 0.46 | 0.58 | 0.652
2 | CRF | 0.79 |  | 0.94 | 0.66 | 0.62 | 0.7 | 0.82 | 0.97 | 0.74 | 0.72 | 0.76 | 0.802
| ADABoost | 0.89 |  | 0.74 | 0.43 | 0.31 | 0.46 | 0.91 | 0.79 | 0.46 | 0.32 | 0.47 | 0.59
ADASYN
| ML Model | 0.3 mg/l | [5 empty] | 0.25 mg/l
|  | TPR |  | TNR | MCC | Precision | F1Score | TPR | TNR | MCC | Precision | F1Score | Average
| RUSBoost | 0.66 |  | 0.98 | 0.68 | 0.78 | 0.71 | 0.76 | 0.98 | 0.73 | 0.75 | 0.76 | 0.796
| CRF | 0.51 |  | 0.99 | 0.62 | 0.85 | 0.63 | 0.53 | 0.99 | 0.66 | 0.89 | 0.66 | 0.746
| ADABoost | 0.78 |  | 0.84 | 0.46 | 0.38 | 0.51 | 0.85 | 0.87 | 0.54 | 0.42 | 0.56 | 0.648
| SET | [12 empty] | Temp_Scale: | Month
Top parameters
No augmentation
| ML Model | 0.25 mg/l
|  | TPR |  | TNR | MCC | Precision | F1Score | Number of parameters | Parameters | Average
| RUSBoost | 0.78 |  | 0.95 | 0.67 | 0.64 | 0.7 | 4 | Age/Cl/Clstd/TempWTW | 0.748
4 | ADABoost | 0.76 |  | 0.98 | 0.78 | 0.84 | 0.8 | 5 | Cl/Temp_WTW/Cl_1/TOC_WTW/FC_TCC | 0.832
SMOTE
| ML Model | 0.25 mg/l
|  | TPR |  | TNR | MCC | Precision | F1Score | Number of parameters | Parameters | Average
| RUSBoost | 0.74 |  | 0.96 | 0.67 | 0.67 | 0.7 | 4 | Cl/Cl_1/Turb_raw/Age | 0.748
| ADABoost | 0.75 |  | 0.98 | 0.75 | 0.79 | 0.77 | 5 | Cl/Cl_1//Temp_WTW/Turb_Raw/Age | 0.808
UNDER
| ML Model | 0.25 mg/l
|  | TPR |  | TNR | MCC | Precision | F1Score | Number of parameters | Parameters | Average
5 | CRF | 0.83 |  | 0.96 | 0.72 | 0.68 | 0.74 | 10 | Cl/TotClstd/Clstd/TotCl/Cl_1/Cl_WTW/TotCl_WTW/TOC_WTW/Age/Temp | 0.786
ADASYN
| ML Model | 0.25 mg/l
|  | TPR |  | TNR | MCC | Precision | F1Score | Number of parameters | Parameters | Average
| RUSBoost | 0.74 |  | 0.95 | 0.65 | 0.63 | 0.68 | 4 | Cl/Cl_1/Turb_raw/Age | 0.73
| ADABoost | 0.79 |  | 0.97 | 0.73 | 0.72 | 0.75 | 5 | Cl/Cl_1/Temp_WTW/Turb_raw/Age | 0.792
Best Average
Best MCC
Best TPR with MCC>0.7
Best Precision with MCC>0.7
Chlorinated systems
Test | ML Model | Augmentation method | Total number of training samples | High risk class percentage | Number of parameters | Parameters | Performance Metrics
[7 empty] | TPR | TNR | MCC | Precision | F1Score | Average
Cl.1 | RUSBoost | Νο | 57947 | 15.7% | 21 | All | 0.76 | 0.98 | 0.74 | 0.77 | 0.76 | 0.802
Cl.2 | CRF | Νο | 57947 | 15.7% | 21 | All | 0.46 | 0.99 | 0.62 | 0.89 | 0.61 | 0.714
Cl.3 | ADABoost | Νο | 57947 | 15.7% | 21 | All | 0.77 | 0.99 | 0.79 | 0.85 | 0.81 | 0.842
Cl.4 | RUSBoost | SMOTE | 76193 | 35.9% | 21 | All | 0.76 | 0.98 | 0.75 | 0.79 | 0.77 | 0.81
Cl.5 | CRF | SMOTE | 94439 | 48.3% | 21 | All | 0.79 | 0.98 | 0.79 | 0.83 | 0.81 | 0.84
Cl.6 | ADABoost | SMOTE | 94439 | 48.3% | 21 | All | 0.87 | 0.84 | 0.51 | 0.39 | 0.52 | 0.626
Cl.7 | RUSBoost | ADASYN | 76193 | 35.9% | 21 | All | 0.76 | 0.98 | 0.73 | 0.75 | 0.76 | 0.796
Cl.8 | CRF | ADASYN | 94439 | 48.3% | 21 | All | 0.79 | 0.98 | 0.77 | 0.79 | 0.79 | 0.824
Cl.9 | ADABoost | ADASYN | 94439 | 48.3% | 21 | All | 0.87 | 0.92 | 0.65 | 0.55 | 0.67 | 0.732
Cl.10 | RUSBoost | UNDER | 27369 | 33.3% | 21 | All | 0.77 | 0.96 | 0.71 | 0.7 | 0.74 | 0.776
Cl.11 | CRF | UNDER | 18246 | 50% | 21 | All | 0.82 | 0.95 | 0.72 | 0.68 | 0.75 | 0.784
Cl.12 | ADABoost | UNDER | 18246 | 50% | 21 | All | 0.91 | 0.79 | 0.46 | 0.32 | 0.47 | 0.59
Cl.13 | RUSBoost | Νο | 57947 | 15.7% | 4 | Age/ Cl/ Clstd/ TempWTW | 0.78 | 0.95 | 0.67 | 0.64 | 0.7 | 0.748
Cl.14 | ADABoost | Νο | 57947 | 15.7% | 5 | Cl/ Temp_WTW/ Cl_1/ TOC_WTW/ FC_TCC | 0.76 | 0.98 | 0.78 | 0.84 | 0.8 | 0.832
Cl.15 | RUSBoost | SMOTE | 76193 | 35.9% | 4 | Cl/ Cl_1/ Turb_raw/ Age | 0.74 | 0.96 | 0.67 | 0.67 | 0.7 | 0.748
Cl.16 | ADABoost | SMOTE | 76193 | 35.9% | 5 | Cl/ Cl_1/ Temp_WTW/ Turb_Raw/ Age | 0.75 | 0.98 | 0.75 | 0.79 | 0.77 | 0.808
Cl.17 | RUSBoost | ADASYN | 76193 | 35.9% | 4 | Cl/ Cl_1/ Turb_raw/ Age | 0.74 | 0.95 | 0.65 | 0.63 | 0.68 | 0.73
Cl.18 | ADABoost | ADASYN | 76193 | 35.9% | 5 | Cl/ Cl_1/ Temp_WTW/ Turb_Raw/ Age | 0.79 | 0.97 | 0.73 | 0.72 | 0.75 | 0.792
Cl.19 | CRF | UNDER | 18246 | 50% | 10 | Cl/ TotClstd/ Clstd/ TotCl/ Cl_1/ Cl_WTW/ TotCl_WTW/ TOC_WTW/ Age/ Temp | 0.83 | 0.96 | 0.72 | 0.68 | 0.74 | 0.786
TPR
Chlorinated systems
Test | ML Model | Augmentation method | Total number of training samples | High risk class percentage | Number of variables | Vaiables | Performance Metrics
[7 empty] | TPR | MCC | Precision | Average
Cl.1 | RUSBoost | Νο | 57947 | 15.7% | 21 | All | 0.76 | 0.74 | 0.77 | 0.75667 | 0.71583 | 6
Cl.2 | CRF | Νο | 57947 | 15.7% | 21 | All | 0.54 | 0.67 | 0.89 | 0.7 | 0.7575
Cl.3 | ADABoost | Νο | 57947 | 15.7% | 21 | All | 0.77 | 0.79 | 0.85 | 0.80333 | 0.66083 | 2
Cl.4 | LogitBoost | Νο | 57947 | 15.7% | 21 | All | 0.55 | 0.67 | 0.89 | 0.70333 | 0.7325
Cl.5 | RUSBoost | SMOTE | 76193 | 35.9% | 21 | All | 0.76 | 0.75 | 0.79 | 0.76667 |  | 4
Cl.6 | CRF | SMOTE | 94439 | 48.3% | 21 | All | 0.79 | 0.79 | 0.83 | 0.80333 |  | 1
Cl.7 | ADABoost | SMOTE | 94439 | 48.3% | 21 | All | 0.85 | 0.52 | 0.39 | 0.58667
Cl.8 | LogitBoost | SMOTE | 94439 | 48.3% | 21 | All | 0.8 | 0.75 | 0.76 | 0.77 |  | 3
Cl.9 | RUSBoost | ADASYN | 76193 | 35.9% | 21 | All | 0.76 | 0.73 | 0.75 | 0.74667 |  | 7
Cl.10 | CRF | ADASYN | 94439 | 48.3% | 21 | All | 0.79 | 0.77 | 0.79 | 0.78333 |  | 2
Cl.11 | ADABoost | ADASYN | 94439 | 48.3% | 21 | All | 0.87 | 0.65 | 0.55 | 0.69
Cl.12 | LogitBoost | ADASYN | 94439 | 48.3% | 21 | All | 0.78 | 0.75 | 0.76 | 0.76333 |  | 5
Cl.13 | RUSBoost | UNDER | 27369 | 33.3% | 21 | All | 0.78 | 0.54 | 0.46 | 0.59333
Cl.14 | CRF | UNDER | 18246 | 50% | 21 | All | 0.83 | 0.72 | 0.68 | 0.74333 |  | 8
Cl.15 | ADABoost | UNDER | 18246 | 50% | 21 | All | 0.91 | 0.46 | 0.32 | 0.56333
Cl.16 | LogitBoost | UNDER | 18246 | 50% | 21 | All | 0.83 | 0.66 | 0.59 | 0.69333
Chlorinated systems
Test | ML Model | Augmentation method | Total number of training samples | High risk class percentage | Number of variables | Vaiables | Performance Metrics
[7 empty] | TPR | MCC | Precision | Average
Cl.17 | RUSBoost | Νο | 57947 | 15.7% | 4 | Cl/ Clstd/ Temperature_WTW/ Water age | 0.78 | 0.67 | 0.64 | 0.69667
Cl.18 | ADABoost | Νο | 57947 | 15.7% | 5 | Cl/ Temperature_WTW/ Cl_1/ TOC_WTW/ FC_TCC | 0.76 | 0.78 | 0.84 | 0.79333
Cl.19 | RUSBoost | SMOTE | 76193 | 35.9% | 4 | Cl/ Cl_1/ Turbidity_raw/Water Age | 0.74 | 0.67 | 0.67 | 0.69333
Cl.20 | CRF | SMOTE | 94439 | 48.3% | 5 | Cl/ Clstd/ TotCl_std/ SRdailyprecipitation/ TotCl_WTW | 0.79 | 0.72 | 0.72 | 0.74333 | 0.96 | 0.75
Cl.21 | LogitBoost | SMOTE | 94439 | 48.3% | 4 | TOC_WTW/Turbidity_Raw/ SRdailyprecipitation / FreeCl_WTW | 0.76 | 0.29 | 0.22 | 0.42333 | 0.71 | 0.34
Cl.22 | RUSBoost | ADASYN | 76193 | 35.9% | 4 | Cl/ Cl_1/ Turbidity_raw/ Water Age | 0.74 | 0.65 | 0.63 | 0.67333
Cl.23 | CRF | ADASYN | 94439 | 48.3% | 5 | Cl/ Clstd/ TotClstd/ SRdailyprecipitation/ TotCl_WTW | 0.8 | 0.64 | 0.59 | 0.67667 | 0.94 | 0.68
Cl.24 | LogitBoost | ADASYN | 94439 | 48.3% | 5 | Turbidity_Raw/ TOC_WTW/ SRdailyprecipitation/ FreeCl_WTW/ TotalCl_WTW | 0.76 | 0.27 | 0.2 | 0.41 | 0.68 | 0.32
Cl.25 | CRF | UNDER | 18246 | 50% | 8 | Cl/ TotClstd/ Clstd/ TotCl_WTW/ TOC_WTW/TotCl/ Cl_1/ WTWdailyprecipittion | 0.82 | 0.75 | 0.73 | 0.76667 | 0.97 | 0.77
Chlorinated systems
Test | ML Model | Augmentation method | Total number of training samples | High risk class percentage | Number of parameters | Parameters | Performance Metrics
[7 empty] | TPR | MCC | Precision | Average
Cl.26 | AdaBoost | Νο | 57947 | 15.7% | 20 | All except Turbidity_Raw | 0.78 | 0.81 | 0.87 | 0.82 | 0.99 | 0.82
Cl.27 | AdaBoost | Νο | 57947 | 15.7% | 20 | All except ICCs_WTW | 0.78 | 0.8 | 0.86 | 0.81333
Cl.28 | AdaBoost | Νο | 57947 | 15.7% | 20 | All except FreeCl_WTW | 0.78 | 0.8 | 0.86 | 0.81333
Cl.29 | AdaBoost | Νο | 57947 | 15.7% | 18 | All except Turbidity_Raw, ICCs_WTW, FreeCl_WTW | 0.77 | 0.79 | 0.84 | 0.8
Cl.30 | AdaBoost | Νο | 57947 | 15.7% | 19 | All except Turbidity_Raw, ICCs_WTW | 0.78 | 0.79 | 0.84 | 0.80333
| Best Precision with MCC>0.7 |  | SET 1 |  |  |  |  | Cl.1 | Cl.17 | 1 | 2
| Best MCC | [6 empty] | Cl.3 | cl.18 | 1 | 1
| Best TPR with MCC>0.7 | [6 empty] | Cl.5 | Cl.19 | 1
[8 empty] | Cl.6 | cl.20 | 1
[8 empty] | Cl.7 | cl.21 | 1
| Best Precision |  | SET 2 |  |  |  |  | Cl.9 | cl.22 | 1
| Best MCC | [6 empty] | Cl.10 | Cl.23 | 1
| Best TPR | [6 empty] | Cl.12 | Cl.24 | 1
[8 empty] | Cl.14 | Cl.25 | 2
[5 empty] | 449 |  | 455
[5 empty] | 74.8333 |  | 75.8333

## Month - chloramine
| SET | [11 empty] | Temp_Scale: | Month
All 21 parameters
No augmentation
| ML Model | 0.7 mg/l
|  | TPR | TNR | MCC | Precision | F1Score | Average
5 | RUSBoost | 0.73 | 0.97 | 0.69 | 0.73 | 0.73 | 0.77
| CRF | 0.58 | 0.99 | 0.68 | 0.85 | 0.69 | 0.758
| ADABoost | 0.64 | 0.97 | 0.67 | 0.77 | 0.7 | 0.75
SMOTE
| ML Model | 0.7 mg/l
|  | TPR | TNR | MCC | Precision | F1Score | Average
| RUSBoost | 0.73 | 0.96 | 0.69 | 0.71 | 0.72 | 0.762
1 | CRF | 0.72 | 0.97 | 0.7 | 0.76 | 0.73 | 0.776
| ADABoost | 0.81 | 0.84 | 0.48 | 0.38 | 0.52 | 0.606
UNDER
| ML Model | 0.7 mg/l
|  | TPR | TNR | MCC | Precision | F1Score | Average
| RUSBoost | 0.76 | 0.93 | 0.62 | 0.58 | 0.66 | 0.71
3 | CRF | 0.83 | 0.95 | 0.71 | 0.66 | 0.74 | 0.778
| ADABoost | 0.83 | 0.93 | 0.66 | 0.6 | 0.7 | 0.744
ADASYN
| ML Model | 0.7 mg/l
|  | TPR | TNR | MCC | Precision | F1Score | Average
| RUSBoost | 0.7 | 0.97 | 0.68 | 0.73 | 0.71 | 0.758
2 | CRF | 0.74 | 0.97 | 0.72 | 0.76 | 0.75 | 0.788
| ADABoost | 0.84 | 0.84 | 0.49 | 0.39 | 0.53 | 0.618
| SET | [11 empty] | Temp_Scale: | Month
Top-parameters
No augmentation
| ML Model | 0.7 mg/l
|  | TPR | TNR | MCC | Precision | F1Score | Number of parameters | Parameters | Average
| RUSBoost | 0.74 | 0.96 | 0.69 | 0.71 | 0.72 | 5 | TotCl/TotCl_1/Temp/Temp_WTW/Turb_Raw | 0.764
SMOTE
| ML Model | 0.7 mg/l
|  | TPR | TNR | MCC | Precision | F1Score | Number of parameters | Parameters | Average
| RUSBoost | 0.69 | 0.94 | 0.6 | 0.6 | 0.64 | 4 | TotCl/TotClstd/Temp/HPC22 | 0.694
4 | CRF | 0.82 | 0.95 | 0.7 | 0.67 | 0.73 | 6 | TotCl/TotClWTW/TOCWTW/TotCl_1/WTWprec/TCC_WTW | 0.774
UNDER
| ML Model | 0.7 mg/l
|  | TPR | TNR | MCC | Precision | F1Score | Number of parameters | Parameters | Average
| CRF | 0.83 | 0.94 | 0.68 | 0.62 | 0.71 | 5 | TotCl/TotCl_1/Age/SRprec/TotCl_WTW | 0.756
| ADABoost | 0.81 | 0.81 | 0.44 | 0.34 | 0.48 | 4 | TotCl/TotCl_1/Temperature/Turb_Raw | 0.576
ADASYN
| ML Model | 0.7 mg/l
|  | TPR | TNR | MCC | Precision | F1Score | Number of parameters | Parameters | Average
| CRF | 0.84 | 0.93 | 0.68 | 0.61 | 0.71 | 6 | TotCl/TotClWTW/TOCWTW/TotCl_1/WTWprec/TCC_WTW | 0.754
Best Average
Best MCC
Best TPR with MCC>0.7
Best Precision with MCC>0.7
Chloraminated systems
Test | ML Model | Augmentation method | Total number of training samples | High risk class percentage | Number of parameters | Parameters | Performance Metrics
[7 empty] | TPR | TNR | MCC | Precision | F1Score | Average
Clm.1 | RUSBoost | Νο | 36632 | 21.6% | 21 | All | 0.73 | 0.97 | 0.7 | 0.73 | 0.73 | 0.772
Clm.2 | CRF | Νο | 36632 | 21.6% | 21 | All | 0.62 | 0.98 | 0.69 | 0.83 | 0.71 | 0.766
Clm.3 | ADABoost | Νο | 36632 | 21.6% | 21 | All | 0.64 | 0.97 | 0.67 | 0.77 | 0.7 | 0.75
Clm.4 | RUSBoost | SMOTE | 52418 | 45.2% | 21 | All | 0.73 | 0.96 | 0.69 | 0.71 | 0.72 | 0.762
Clm.5 | CRF | SMOTE | 52418 | 45.2% | 21 | All | 0.74 | 0.97 | 0.71 | 0.75 | 0.74 | 0.782
Clm.6 | ADABoost | SMOTE | 52418 | 45.2% | 21 | All | 0.81 | 0.84 | 0.48 | 0.38 | 0.52 | 0.606
Clm.7 | RUSBoost | ADASYN | 52418 | 45.2% | 21 | All | 0.7 | 0.97 | 0.68 | 0.73 | 0.71 | 0.758
Clm.8 | CRF | ADASYN | 52418 | 45.2% | 21 | All | 0.76 | 0.97 | 0.73 | 0.76 | 0.76 | 0.796
Clm.9 | ADABoost | ADASYN | 52418 | 45.2% | 21 | All | 0.84 | 0.84 | 0.49 | 0.39 | 0.53 | 0.618
Clm.10 | RUSBoost | UNDER | 15786 | 50% | 21 | All | 0.76 | 0.96 | 0.69 | 0.69 | 0.72 | 0.764
Clm.11 | CRF | UNDER | 15786 | 50% | 21 | All | 0.83 | 0.95 | 0.7 | 0.65 | 0.73 | 0.772
Clm.12 | ADABoost | UNDER | 15786 | 50% | 21 | All | 0.83 | 0.93 | 0.66 | 0.6 | 0.7 | 0.744
Clm.13 | RUSBoost | Νο | 36632 | 21.6% | 5 | TotCl/TotCl_1/ Temp/Temp_WTW /Turb_Raw | 0.74 | 0.96 | 0.69 | 0.71 | 0.72 | 0.764
Clm.14 | RUSBoost | SMOTE | 52418 | 45.2% | 4 | TotCl/ TotClstd/ Temp/ HPC22 | 0.69 | 0.94 | 0.6 | 0.6 | 0.64 | 0.694
Clm.15 | CRF | SMOTE | 52418 | 45.2% | 6 | TotCl/ TotClWTW/ TOC_WTW/ TotCl_1/ WTWprec/ TCC_WTW | 0.82 | 0.95 | 0.7 | 0.67 | 0.73 | 0.774
Clm.16 | CRF | ADASYN | 52418 | 45.2% | 6 | TotCl/ TotCl_WTW/ TOC_WTW/ TotCl_1/ WTWprec/ TCC_WTW | 0.84 | 0.93 | 0.68 | 0.61 | 0.71 | 0.754
Clm.17 | CRF | UNDER | 15786 | 50% | 5 | TotCl/ TotCl_1/ Age/ SRprec/ TotCl_WTW | 0.83 | 0.94 | 0.68 | 0.62 | 0.71 | 0.756
Clm.18 | ADABoost | UNDER | 15786 | 50% | 4 | TotCl/ TotCl_1/ Temperature/ Turb_Raw | 0.81 | 0.81 | 0.44 | 0.34 | 0.48 | 0.576
Best Average
Best MCC
Best TPR with MCC>0.7
Best Precision with MCC>0.7
Chloraminated systems
Test | ML Model | Augmentation method | Total number of training samples | High risk class percentage | Number of variables | Vaiables | Performance Metrics
[7 empty] | TPR | MCC | Precision | Average
Clm.1 | RUSBoost | Νο | 36632 | 21.6% | 21 | All | 0.73 | 0.7 | 0.73 | 0.72 | 4 | 0.71167
Clm.2 | CRF | Νο | 36632 | 21.6% | 21 | All | 0.62 | 0.69 | 0.83 | 0.71333 |  | 0.73083
Clm.3 | ADABoost | Νο | 36632 | 21.6% | 21 | All | 0.64 | 0.67 | 0.77 | 0.69333 |  | 0.63
Clm.4 | LogitBoost | Νο | 36632 | 21.6% | 21 | All | 0.6 | 0.65 | 0.79 | 0.68 |  | 0.62083
Clm.5 | RUSBoost | SMOTE | 52418 | 45.2% | 21 | All | 0.73 | 0.69 | 0.71 | 0.71
Clm.6 | CRF | SMOTE | 52418 | 45.2% | 21 | All | 0.74 | 0.71 | 0.75 | 0.73333 | 3
Clm.7 | ADABoost | SMOTE | 52418 | 45.2% | 21 | All | 0.81 | 0.48 | 0.38 | 0.55667
Clm.8 | LogitBoost | SMOTE | 52418 | 45.2% | 21 | All | 0.73 | 0.52 | 0.46 | 0.57
Clm.9 | RUSBoost | ADASYN | 52418 | 45.2% | 21 | All | 0.7 | 0.68 | 0.73 | 0.70333
Clm.10 | CRF | ADASYN | 52418 | 45.2% | 21 | All | 0.76 | 0.73 | 0.76 | 0.75 | 1
Clm.11 | ADABoost | ADASYN | 52418 | 45.2% | 21 | All | 0.84 | 0.49 | 0.39 | 0.57333
Clm.12 | LogitBoost | ADASYN | 52418 | 45.2% | 21 | All | 0.74 | 0.53 | 0.48 | 0.58333
Clm.13 | RUSBoost | UNDER | 23679 | 33.3% | 21 | All | 0.76 | 0.69 | 0.69 | 0.71333
Clm.14 | CRF | UNDER | 15786 | 50% | 21 | All | 0.83 | 0.7 | 0.65 | 0.72667 | 2
Clm.15 | ADABoost | UNDER | 15786 | 50% | 21 | All | 0.83 | 0.66 | 0.6 | 0.69667
Clm.16 | LogitBoost | UNDER | 15786 | 50% | 21 | All | 0.79 | 0.61 | 0.55 | 0.65
Chloraminated systems
Test | ML Model | Augmentation method | Total number of training samples | High risk class percentage | Number of variables | Vaiables | Performance Metrics
[7 empty] | TPR | MCC | Precision | Average
Clm.17 | RUSBoost | Νο | 36632 | 21.6% | 5 | TotCl/ TotCl_1/ Temperature/ Temperature_WTW / Turbidity_Raw | 0.74 | 0.69 | 0.71 | 0.71333
Clm.18 | CRF | SMOTE | 52418 | 45.2% | 7 | TotCl/ TotCl_WTW/ TOC_WTW/ TotCl_1/ WTWdailyprecipitation/ TCC_WTW/ Water age | 0.82 | 0.7 | 0.66 | 0.72667 | 0.95 | 0.73
Clm.19 | CRF | ADASYN | 52418 | 45.2% | 7 | TotCl/ TotCl_WTW/ TCC_WTW/ TotCl_1/ WTWdailyprecipitation/ TOC_WTW/ Water age | 0.83 | 0.7 | 0.63 | 0.72 | 0.94 | 0.72
Clm.20 | CRF | UNDER | 15786 | 50% | 7 | TotCl/ TotCl_1/ TotClstd/ WTWdailyprecipitation/ Water Age/ TOC_WTW/ Srdailyprecipitation | 0.84 | 0.68 | 0.62 | 0.71333 | 0.93 | 0.71
Clm.21 | RUSBoost | SMOTE | 52418 | 45.2% | 3 | TotCl/TotClstd/Temperature | 0.75 | 0.63 | 0.6 | 0.66 | 0.94 | 0.67
Clm.22 | RUSBoost | UNDER | 23679 | 33.3% | 6 | TotCl/ TotalCl_1/ Turbidity_Raw/ Temperature_WTW/ Temperature/ Water Age | 0.75 | 0.67 | 0.67 | 0.69667 | 0.95 | 0.71
| Best Precision with MCC>0.7 |  | SET 1
| Best MCC | [5 empty] | Cl.1 | Cl.17 | 1
| Best TPR with MCC>0.7 | [5 empty] | Cl.6 | Cl.18 | x
[7 empty] | Cl.10 | cl.19 | 1
[7 empty] | Cl.14 | cl.20 | 1
| Best Precision |  | SET 2 |  |  |  | clm.5 | clm.21 | 1
| Best MCC | [5 empty] | clm.13 | clm.22 | 1
Best TPR

## Parameters importance
Chlorinated sytems
| Parameters | Cl.3 | Cl.6 | Cl.18
MCC decrease
| Water age | 0.0051182 | -0.0265 | - |  | 0.79512 | 0.7635
| HPC22 | 0.0046056 | -0.0326 | - |  | 0.79461 | 0.7574
| HPC37 | -0.0018816 | -0.0563 | - |  | 0.78812 | 0.7337
| FreeCl | -0.12639 | -0.1268 | -0.1665 |  | 0.66361 | 0.6632 |  | 0.6135
| FreeClstd | 0.0068315 | -0.096 | - |  | 0.79683 | 0.694
| FC_ICCs | -0.0084594 | -0.0102 | - |  | 0.78154 | 0.7798
| Temperature | 0.0090684 | 0.0023 | - |  | 0.79907 | 0.7923
| FC_TCC | 0.0043415 | -0.1018 | - |  | 0.79434 | 0.6882
| TotalCl | -0.008282 | -0.0807 | - |  | 0.78172 | 0.7093
| TotalClstd | 0.003134 | -0.0263 | - |  | 0.79313 | 0.7637
| SRdailyprecipitation | 0.0076907 | -0.008 | - |  | 0.79769 | 0.782
| WTWdailyprecipitation | -0.018637 | -0.029 | - |  | 0.77136 | 0.761
| FreeCl_WTW | 0.010734 | -0.0068 | - |  | 0.80073 | 0.7832
| ICCs_WTW | 0.013027 | -0.0917 | - |  | 0.80303 | 0.6983
| Temperature_WTW | 0.0034146 | -0.0209 | 0.007 |  | 0.79341 | 0.7691 |  | 0.787
| TCCs_WTW | -0.0014023 | -0.0313 | -0.0284 |  | 0.7886 | 0.7587 |  | 0.7516
| TotalCl_WTW | 0.00060692 | -0.002 | - |  | 0.79061 | 0.788
| TOC_WTW | 0.0074837 | -0.0098 | -0.0055 |  | 0.79748 | 0.7802 |  | 0.7745
| Turbidity_Raw | 0.015781 | -0.0004 | - |  | 0.80578 | 0.7896
| FreeCl_1 | 0.0070434 | -0.0232 | -0.0327 |  | 0.79704 | 0.7668 |  | 0.7473
| TotalCl_1 | 0.0062347 | -0.0661 | - |  | 0.79623 | 0.7239
|  | 0.79 | 0.79 | 0.78
Chloraminated sytems
| Variables | Clm.6 | Clm.10 | Clm.14 | Clm.18
MCC decrease
-0.02995 | Water age | -0.028 | -0.0357 | -0.0278 | -0.0283 | 0.7143 | 0.7022 | 0.7017
-0.031833 | HPC22 | -0.038 | -0.035 | -0.0225 | - | 0.715 | 0.7075
-0.0305 | HPC37 | -0.032 | -0.0309 | -0.0286 | - | 0.7191 | 0.7014
-0.033267 | FreeCl | -0.0365 | -0.0362 | -0.0271 | - | 0.7138 | 0.7029
-0.0338 | FreeClstd | -0.033 | -0.0398 | -0.0286 | - | 0.7102 | 0.7014
-0.0299 | FC_ICCs | -0.0294 | -0.0294 | -0.0309 | - | 0.7206 | 0.6991
-0.0343 | Temperature | -0.035 | -0.0393 | -0.0286 | - | 0.7107 | 0.7014
-0.0275 | FC_TCC | -0.027 | -0.0284 | -0.0271 | - | 0.7216 | 0.7029
-0.11192 | TotalCl | -0.1 | -0.0974 | -0.1273 | -0.123 | 0.6526 | 0.6027 | 0.607
-0.0324 | TotalClstd | -0.032 | -0.032 | -0.0332 | - | 0.718 | 0.6968
-0.028767 | SRdailyprecipitation | -0.029 | -0.0341 | -0.0232 | - | 0.7159 | 0.7068
-0.02665 | WTWdailyprecipitation | -0.027 | -0.0334 | -0.0248 | -0.0214 | 0.7166 | 0.7052 | 0.7086
-0.031533 | FreeCl_WTW | -0.0315 | -0.0315 | -0.0316 | - | 0.7185 | 0.6984
-0.0299 | ICCs_WTW | -0.0294 | -0.0294 | -0.0309 | - | 0.7206 | 0.6991
-0.035 | Temperature_WTW | -0.031 | -0.0469 | -0.0271 | - | 0.7031 | 0.7029
-0.033575 | TCCs_WTW | -0.033 | -0.0357 | -0.0286 | -0.037 | 0.7143 | 0.7014 | 0.693
-0.03315 | TotalCl_WTW | -0.031 | -0.0456 | -0.0263 | -0.0297 | 0.7044 | 0.7037 | 0.7003
-0.0328 | TOC_WTW | -0.035 | -0.033 | -0.0286 | -0.0346 | 0.717 | 0.7014 | 0.6954
-0.022467 | Turbidity_Raw | -0.016 | -0.0175 | -0.0339 | - | 0.7325 | 0.6961
-0.0316 | FreeCl_1 | -0.038 | -0.0221 | -0.0347 | - | 0.7279 | 0.6953
-0.046175 | TotalCl_1 | -0.049 | -0.0488 | -0.0377 | -0.0492 | 0.7012 | 0.6923 | 0.6808
|  | 0.73 | 0.75 | 0.73 | 0.73

## Combined models
Chlorinated systems
Combined Ensemble Model | SET 1 | No of models combined | Models combined | TPR | MCC | Precission
SACEM | 1 | 3 | Cl.3 / Cl.6/ Cl.19 | 0.79 | 0.79 | 0.82 | 0.8
TPR WACEM |  |  |  | 0.79 | 0.79 | 0.82 | 0.8
Pre WACEM |  |  |  | 0.79 | 0.79 | 0.82 | 0.8
MCC WACEM |  |  |  | 0.79 | 0.79 | 0.82 | 0.8
SACEM | 2 | 3 | Cl.4 / Cl.6/ Cl.15 | 0.79 | 0.79 | 0.83 | 0.80333
TPR WACEM |  |  |  | 0.79 | 0.79 | 0.83 | 0.80333
Pre WACEM |  |  |  | 0.79 | 0.79 | 0.83 | 0.80333
MCC WACEM |  |  |  | 0.79 | 0.79 | 0.83 | 0.80333
SACEM | 3 | 5 | Cl.3/ Cl.4/ Cl.6/ Cl.15/ Cl.19 | 0.8 | 0.79 | 0.82 | 0.80333
TPR WACEM |  |  |  | 0.8 | 0.79 | 0.82 | 0.80333
Pre WACEM |  |  |  | 0.8 | 0.79 | 0.82 | 0.80333
MCC WACEM |  |  |  | 0.8 | 0.79 | 0.82 | 0.80333
SACEM | 4 | 4 | Cl.3/ Cl.6/ Cl.10/ Cl.18 | 0.79 | 0.79 | 0.83 | 0.80333
TPR WACEM |  |  |  | 0.79 | 0.79 | 0.83 | 0.80333
Pre WACEM |  |  |  | 0.78 | 0.8 | 0.86 | 0.81333
MCC WACEM |  |  |  | 0.78 | 0.8 | 0.86 | 0.81333
SACEM | 5 | 3 | Cl.3/ Cl.6/ Cl.18 | 0.78 | 0.8 | 0.86 | 0.81333
TPR WACEM |  |  |  | 0.78 | 0.8 | 0.86 | 0.81333
Pre WACEM |  |  |  | 0.78 | 0.8 | 0.86 | 0.81333
MCC WACEM |  |  |  | 0.78 | 0.8 | 0.86 | 0.81333
SACEM | 6 | 2 | Cl.3/ Cl.6 | 0.78 | 0.8 | 0.86 | 0.81333
TPR WACEM |  |  |  | 0.78 | 0.8 | 0.86 | 0.81333
Pre WACEM |  |  |  | 0.78 | 0.8 | 0.86 | 0.81333
MCC WACEM |  |  |  | 0.78 | 0.8 | 0.86 | 0.81333
SACEM | 7 | 4 | Cl.5/ Cl.6/ Cl.8/ Cl.26 | 0.79 | 0.79 | 0.83 | 0.80333
TPR WACEM |  |  |  | 0.78 | 0.81 | 0.88 | 0.82333
Pre WACEM |  |  |  | 0.79 | 0.81 | 0.87 | 0.82333
MCC WACEM |  |  |  | 0.79 | 0.81 | 0.87 | 0.82333
Chloraminated systems
Combined Ensemble Model |  | No of models combined | Models combined | TPR | MCC | Precission
SACEM | 1 | 4 | Clm.6/ Clm.10/ Clm.14/ Clm.18 | 0.76 | 0.72 | 0.74 | 0.74
TPR WACEM |  |  |  | 0.82 | 0.71 | 0.67 | 0.73333
Pre WACEM |  |  |  | 0.76 | 0.72 | 0.75 | 0.74333
MCC WACEM |  |  |  | 0.76 | 0.72 | 0.75 | 0.74333
SACEM | 1 | 3 | Clm.6/ Clm.10/ Clm.18 | 0.76 | 0.72 | 0.75 | 0.74333
TPR WACEM |  |  |  | 0.76 | 0.72 | 0.75 | 0.74333
Pre WACEM |  |  |  | 0.76 | 0.72 | 0.75 | 0.74333
MCC WACEM |  |  |  | 0.76 | 0.72 | 0.75 | 0.74333
SACEM | 1 | 4 | Clm.1/ Clm.4/ Clm.10/Clm.14 | 0.78 | 0.72 | 0.73 | 0.74333
TPR WACEM |  |  |  | 0.78 | 0.72 | 0.73 | 0.74333
Pre WACEM |  |  |  | 0.78 | 0.72 | 0.73 | 0.74333
MCC WACEM |  |  |  | 0.7 | 0.7 | 0.76 | 0.72
SACEM | 1 | 2 | Clm.1/ Clm.10 | 0.78 | 0.72 | 0.72 | 0.74
TPR WACEM |  |  |  | 0.76 | 0.73 | 0.76 | 0.75
Pre WACEM |  |  |  | 0.76 | 0.73 | 0.76 | 0.75
MCC WACEM |  |  |  | 0.76 | 0.73 | 0.76 | 0.75
SACEM | 1 | 4 | Clm.1/ Clm.3/ Clm.4/Clm.10 | 0.72 | 0.7 | 0.75 | 0.72333
TPR WACEM |  |  |  | 0.72 | 0.71 | 0.75 | 0.72667
Pre WACEM |  |  |  | 0.66 | 0.69 | 0.79 | 0.71333
MCC WACEM |  |  |  | 0.71 | 0.7 | 0.76 | 0.72333
Disinfection | Combined Ensemble Model | No of tests combined | Tests combined | TPR | MCC | Precission | Average
Chlorination | SACEM | 4 | Cl.5/ Cl.6/ Cl.8/ Cl.26 | 0.79 | 0.79 | 0.83 | 0.80333
| TPR WACEM |  |  | 0.78 | 0.81 | 0.88 | 0.82333
| Pre WACEM |  |  | 0.79 | 0.81 | 0.87 | 0.82333
| MCC WACEM |  |  | 0.79 | 0.81 | 0.87 | 0.82333
Chloramination | SACEM | 4 | Clm.1/ Clm.3/ Clm.4/Clm.10 | 0.72 | 0.7 | 0.75 | 0.72333
| TPR WACEM |  |  | 0.72 | 0.71 | 0.75 | 0.72667
| Pre WACEM |  |  | 0.66 | 0.69 | 0.79 | 0.71333
| MCC WACEM |  |  | 0.71 | 0.7 | 0.76 | 0.72333

## Events count
CHLORINATED SYSTEMS |  |  | CHLORAMINATED SYSTEMS
Test | Correctly predicted high-risk predictions for 2021 | Correctly predicted low-risk predictions for 2021 | Test | Correctly predicted high-risk SRs | Correctly predicted low-risk SRs
Cl.26 | 475 | 5602 | Clm.10 | 333 | 3527
Pre WACEM | 477 | 5606 | TPR WACEM | 318 | 3530
SRs classification in 2021 | 606 | 5676 | SRs classification in 2021 | 441 | 3635
| High-risk | Low-risk |  | High-risk | Low-risk
Month | Pre WACEM | Clm.10
% of top-20 high risk SRs that failed
1 | 100% | 85%
2 | 90% | 60%*
3 | 0% | 0%
4 | 85% | 85%**
5 | 100% | 100%
6 | 100% | 85%**
7 | 100% | 90%
8 | 100% | 100% |  |  |  | 0.85
9 | 100% | 100%
10 | 100% | 100%
11 | 100% | 100%